## Biomecanica

### Yang et al 2020

Yang, X., Lim, Z., Jung, H., Hong, Y., Zhang, M., Park, D., & You, H. (2020). Estimation of finite finger joint centers of rotation using 3D hand skeleton motions reconstructed from CT scans. Applied Sciences, 10(24), 9129.

- “Digital human hand models have been widely used in ergonomic product design and evaluation”

- “the assumption that the hand is a rigid linkage system,”

- “metacarpophalangeal (MCP), proximal interphalangeal (PIP), and distal interphalangeal (DIP) joints “

### Chen chen et al 2011

Chen Chen, F., Favetto, A., Mousavi, M., Ambrosio, E., Appendino, S., Manfredi, D., ... & Bona, B. (2011, July). Human Hand: Kinematics, Statics, and Dynamics. In 41st International Conference on Environmental Systems (p. 5249).

- “Sections 4 to 6 present data about forces, torque, velocities and power”

- “The human hand is composed of…”

### Kargov et al 2004

Kargov, A., Pylatiuk, C., Martin, J., Schulz, S., & Döderlein, L. (2004). A comparison of the grip force distribution in natural hands and in prosthetic hands. Disability and Rehabilitation, 26(12), 705-711.

- “Comparison of grip in natural and prosthetic hands …”

### Fourie 2017

Fourie, R., & Stopforth, R. (2017). The mechanical design of a biologically inspired prosthetic hand, the touch hand 3 (pp. 38-43). IEEE.

- “1.1.1.8 Finger and hand antropometry data: …”

## RCM

### Zhang et al 2019, 2014

Zhang, F., Lin, L., Yang, L., & Fu, Y. (2019). Design of an active and passive control system of hand exoskeleton for rehabilitation. Applied Sciences, 9(11), 2291.

- “the SPRM [symmetric pinion and rack mechanism ] and the parallel mechanism, which can realize the telecentric motion around the joint center”

### Hernández-Santos et al, 2021

- “Table 1 presents a comparative review of exoskeletons developed for hand rehabilitation. Not all of the exoskeletons can be applied effectively to daily life, e.g., only a few can

be used alone without a large drive device. Some are too complex, bulky, and unwearable,

with many active DOF, or are too expensive for home and personal use.”

- Table 1: buena comparación

### Biouras et al, 2020

- “One of the most crucial dimensional characteristics is the thickness in the lateral areas of the fingers that is coaxial to the finger joints”

- “a wearer that has thinner and longer fingers will have more space between the fingers, which will permit the mounting of an exoskeleton”

- “[RCM] has the considerable advantage of saving a lot of space between the fingers, an essential factor to take into account when designing the orthotic shell of the exoskeleton fingers”

- “underactuated redundant linkage (URL) structure as seen in Figure 2c.The size of the mechanism is considerably larger”

- “ [URL] this design does not have the precise control of each phalange individually”

- [URL] bfewer actuators and can provide a more natural movement of the wearer’s hand due to its underactuated mechanism and the compliance of the biological hand

- “two types of cable transmission are used, namely pulley-cable transmission [39] and Bowden cable transmission [40].”

- “exoskeleton segments corresponding to the finger phalanges do not need to be controlled individually [36]. A better solution is to rely on the body’s natural compliance while actuating the exoskeleton.”

### Sandison et al, 2020 (handsome)

### Diez et al, 2017

### Batezzato et al 2014

- “to maintain the weight and complexity as low as possible, an only two-phalange mechanism is considered: it is a quite common solution for exoskeletons [4,18–20]”

### Enriquez et al 2014

- Tabla 1: rango de mvto de los dedos

### Fontana et al 2013, 2009

### Fang et al 2009

- “placing an exoskeleton mechanism over an operator's finger is more reasonable than beside an operator's finger. To mimic the motion of the operator’s finger, the rotation centers of exoskeleton mechanism  should coincide with the rotation centers of the operator's fingers to avoid the mechanical interference”

### Wang et al 2009

- Fig. 1. Biomechanical model of index finger

### Nakawara et al 2005

Shields et al 1997

- Each joint uses a four-bar mechanism to rotate about an instant center that corresponds to the instant center  of the proximal phalanx with respect to ground and the middle phalanx with respect to the proximal  phalanx”

- “the parallelogram structure of the mechanism the instant centers remain fixed relative to the ground link in each joint. The design of each joint mechanism was governed by having the appropriate instant centers coincide with the centers of rotation of the wearers’ fingers.”

- The kinematic coefficient relating the proximal exoskeleton link to the input link has a constant value of 1  for all three exoskeleton fingers.

## Estados del Arte

### Noronha et al 2021

Noronha, B., & Accoto, D. (2021). Exoskeletal devices for hand assistance and rehabilitation: A comprehensive analysis of state-of-the-art technologies. IEEE Transactions on Medical Robotics and Bionics, 3(2), 525-538.

### Rosen et al 2019

Rosen, J. (Ed.). (2019). Wearable robotics: Systems and applications. Academic Press.

## Requerimientos

### Boser et al 2020

Boser, Q. A., Dawson, M. R., Schofield, J. S., Dziwenko, G. Y., & Hebert, J. S. (2020). Defining the design requirements for an assistive powered hand exoskeleton: A pilot explorative interview study and case series. Prosthetics and Orthotics International, 0309364620963943.

### Randazzo et al 2017

Randazzo, L., Iturrate, I., Perdikis, S., & Millán, J. D. R. (2017). mano: A wearable hand exoskeleton for activities of daily living and neurorehabilitation. IEEE Robotics and Automation Letters, 3(1), 500-507.

- “they still suffer from an important limitation: their adoption by users on a daily basis is limited because of complexity, poor usability and high costs.”

- “we aimed at developing a device intensively usable in ADL, both for assistive and neurorehabilitative purposes”

- “tendon-driven mechanisms. These designs enable the self-alignment of the exoskeletal structure(s)”

- “natural somatosensation”

- “Table 1: Comparison of the mano device (first row) to state-of-the-art hand exoskeletons.”

### Bützer et al 2021 (RELab tenoexo)

Bützer, T., Lambercy, O., Arata, J., & Gassert, R. (2021). Fully wearable actuated soft exoskeleton for grasping assistance in everyday activities. Soft robotics, 8(2), 128-143.